## Standard Test Reporting Template

This template is recommended to compile the data necessary to check the performance of a NRU test.  Additional data, (e.g., temperature, CO2, and humidity of incubators, or temperature of refrigerators, calibration of scales and pipettes, etc.), are not included since GLP laboratories usually record these in master records for the whole laboratory.

| TEST SUBSTANCE |
| --- |
| Name |  | CAS No. (if known) |  |
| Laboratory Code |  | Molecular Weight (g) |  |
| Storage Conditions (check) | □ deep frozen | □ room temperature |
|  | □ refrigerated | □ dark |
| Expiration date (if known) |  |
| PREPARATION OF TEST SUBSTANCE |
| Name of Solvent (if used) |  |
| Percent Solvent (v/v) present in all wells |  |
| Aids used to dissolve (check those applicable) | □ magnetic stirrer | □ ultra-sonication |
|  | □ vortex | □ heating to .........°C |
| pH (measured at highest test concentration) |  |
| Concentration series (specify in (g/ml) |  |  |  |  |  |  |  |  |
| Concentration series (specify in (mol/ml) |  |  |  |  |  |  |  |  |
| CELL LINE/TYPE |
| Name: | Supplier: | Lot No |
| Total Passage No. (if known): | No. of Passages after Thawing: |
| CELL CULTURE CONDITIONS |
| Name of Medium: | Supplier: | Lot No.: |
| Name of Serum: | Supplier: | Lot No.: |
| Serum Concentration | During growth: ..............% | During Exposure: ...........% |
| TEST ACCEPTANCE CRITERIA |
| VC: mean absolute OD540 (specify and check off) | Mean OD = .............. | □ ACCEPT | □ REJECT |
| VC: diff. betw. columns 2 and 11 (specify and check) | Difference = .........% | □ ACCEPT | □ REJECT |
| PC: IC50 of concurrent SLS test (specify and check) | IC50 = .............(g /ml | □ ACCEPT | □ REJECT |
| PC: specify where PC data are recorded: |

| TEST RESULTS |
| --- |
| Chemical Conc. (mM) | OD540 MEAN + SD | Viability (%) MEAN ( SD | Template reports trial No. ........ of the test substance NRU RESULT: IC50 = ........................ mM |
| VC = ZERO |  | 100 |  |
| C1 = |  |  | PREDICTED LD50: log LD50 = .....................mmol/kg b.w. LD50 = ......................mmol/kg b.w. LD50 = ......................mg/kg b.w. (mmol/kg x molecular weight) PREDICTED UDP/ATC STARTING DOSE: =............mg/kg (next default dose lower than predicted LD50)* Signature:............................. Date:............................. |
| C2 = |  |  |  |
| C3 = |  |  |  |
| C4 = |  |  |  |
| C5 = |  |  |  |
| C6 = |  |  |  |
| C7 = |  |  |  |
| C8 = |  |  |  |

*Default doses for UDP are 1.75, 5.5, 17.5, 55, 175, 550, 1750, 5000 mg/kg. Default doses for ATC are 5, 50, 300, 2000, and 5000 mg/kg.