## Compound Tracking
Compound Tracking Form: |  |  | Plate #: | Enter Plate Identification Here
(i.e. Ag 1, Ag 2, …)
Cell Lot #: |  | Enter Lot Number
DMSO Lot #: |  | Enter Lot Number |  |  | Name: | Enter Experimenter Name Here
Media Lot#: |  | Enter Lot Number
|  | Name | ID #
Standard: |  | b-estradiol | Enter ID Number |  | Date: | 2012-01-01
(ex. 14-Nov-07)
Test Substance Code: | # 1 | Chemical 1 | Enter ID Number
| # 2 | Chemical 2 | Enter ID Number
| # 3 | Chemical 3 | Enter ID Number
| # 4 | Chemical 4 | Enter ID Number
| # 5 | Chemical 5 | Enter ID Number
| # 6 | Chemical 6 | Enter ID Number
Comments:
Plate Pass/Fail Table |  |  |  | Testing Results Table
Did the plate pass the following acceptance criteria as set by NICEATM? |  |  |  | Test Substance | Test substance postive in this experiment? (Yes/No) | Recommend Retest for this Substance (Yes/No) | Why should the substance be retested?
Criterion: |  | Pass\Fail |  | Chemical 1
DMSO Control |  |  |  | Chemical 2
Induction |  |  |  | Chemical 3
Experiment |  |  |  | Chemical 4
Chemical 5
Chemical 6
Enter Reviewer Name Here |  |  | 2012-01-01
Reviewer Name |  |  | Date

## RAW DATA
|  |  |  | Test Name: |  | Enter Plate Identification Here |  | Date | 2012-01-01
|  |  |  | Cell line ID: |  | BG1
Microplate Reader |  | PACKARD OPTIPLATE 96 |  |  | No. of Intervals |  |  | 50 | Interval Time [s] |  | 0.3
Layout |  | XDS 96 well (Inside) |  |  | Tot. Meas. Time/Well [s] |  |  | 15 | Start Measurement [s] |  | 0
[5 empty] | Start Injection 1 [s] |  |  | 0 | Start Injection 2 [s] |  | 15
Test Type |  | Well Mode |  | Calculation Range |  | Start |  | 5 |  | Stop | 50
Reading Direction |  | vertical
|  |  | E2a | E2b | Mean
|  | Induction: | 3.277 | 3.6222 | 3.4496
Note: Be sure the Induction takes into account the highest RLU and the blank. If it does not, you must readjust the range.
| Table 1 | [8 empty] | Raw Data Table
A | 25 | 59 | 2797 | 3047 | 4336 | 4007 | 11165 | 11868 | 247 | 100 | 6116 | 6415
B | 2675 | 3114 | 4074 | 4559 | 4747 | 4321 | 13307 | 13169 | 2369 | 1948 | 6274 | 6715
C | 14166 | 15333 | 4407 | 4759 | 5620 | 5947 | 7358 | 8069 | 5027 | 5225 | 6993 | 7097
D | 17128 | 19239 | 4432 | 4543 | 10042 | 10301 | 4261 | 4830 | 7714 | 9164 | 7577 | 7638
E | 12631 | 12897 | 4042 | 3611 | 5512 | 5301 | 3183 | 3420 | 3485 | 4425 | 7480 | 6840
F | 5212 | 4253 | 3636 | 3528 | 3473 | 3458 | 2943 | 3128 | 3368 | 4057 | 6408 | 6611
G | 4232 | 3990 | 4787 | 5292 | 3493 | 3478 | 2893 | 2928 | 4606 | 5587 | 6670 | 7243
H | 7824 | 12469 | 15628 | 15727 | 5039 | 5094 | 4518 | 4546 | 8277 | 13658 | 15781 | 17384
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Table 2 | [8 empty] | Background Subtracted Data
A | -4774.25 | -4740.25 | -2002.25 | -1752.25 | -463.25 | -792.25 | 6365.75 | 7068.75 | -4552.25 | -4699.25 | 1316.75 | 1615.75
B | -2124.25 | -1685.25 | -725.25 | -240.25 | -52.25 | -478.25 | 8507.75 | 8369.75 | -2430.25 | -2851.25 | 1474.75 | 1915.75
C | 9366.75 | 10533.75 | -392.25 | -40.25 | 820.75 | 1147.75 | 2558.75 | 3269.75 | 227.75 | 425.75 | 2193.75 | 2297.75
D | 12328.75 | 14439.75 | -367.25 | -256.25 | 5242.75 | 5501.75 | -538.25 | 30.75 | 2914.75 | 4364.75 | 2777.75 | 2838.75
E | 7831.75 | 8097.75 | -757.25 | -1188.25 | 712.75 | 501.75 | -1616.25 | -1379.25 | -1314.25 | -374.25 | 2680.75 | 2040.75
F | 412.75 | -546.25 | -1163.25 | -1271.25 | -1326.25 | -1341.25 | -1856.25 | -1671.25 | -1431.25 | -742.25 | 1608.75 | 1811.75
G | -567.25 | -809.25 | -12.25 | 492.75 | -1306.25 | -1321.25 | -1906.25 | -1871.25 | -193.25 | 787.75 | 1870.75 | 2443.75
H | 3024.75 | 7669.75 | 10828.75 | 10927.75 | 239.75 | 294.75 | -281.25 | -253.25 | 3477.75 | 8858.75 | 10981.75 | 12584.75
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | blank | 4799.25 | (average DMSO RLU)
Color Key
Red | Estradiol Curve A (E2a) |  |  |  | Note: Be sure the DMSO blanks are not significantly different in Table 1. If they are, the average and st. dev. range must be readjusted in Table 2. |  |  |  |  | DMSO Mean |  | 0
Pink | Estradiol Curve B (E2b) | [8 empty] | DMSO SD |  | 309.6206
Blue | DMSO
Black | Chemical 1
Black | Chemical 2
Black | Chemical 3
Black | Chemical 4
Black | Chemical 5
Black | Chemical 6

## LIST
Test Name: |  | Enter Plate Identification Here |  | Date: | 2012-01-01
Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results | Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results
A1 | Chemical 1 | 1000 | µg/ml |  | -4774.25 | A7 | Chemical 4 | 1000 | µg/ml |  | 6365.75
B1 |  | 100 | µg/ml |  | -2124.25 | B7 |  | 100 | µg/ml |  | 8507.75
C1 |  | 10 | µg/ml |  | 9366.75 | C7 |  | 10 | µg/ml |  | 2558.75
D1 |  | 1 | µg/ml |  | 12328.75 | D7 |  | 1 | µg/ml |  | -538.25
E1 |  | 0.1 | µg/ml |  | 7831.75 | E7 |  | 0.1 | µg/ml |  | -1616.25
F1 |  | 0.01 | µg/ml |  | 412.75 | F7 |  | 0.01 | µg/ml |  | -1856.25
G1 |  | 0.001 | µg/ml |  | -567.25 | G7 |  | 0.001 | µg/ml |  | -1906.25
H1 | β-estradiol a | 7.825e-07 | µg/ml |  | 3024.75 | H7 | DMSO | 0 | µg/ml |  | -281.25
A2 | Chemical 1 | 1000 | µg/ml |  | -4740.25 | A8 | Chemical 4 | 1000 | µg/ml |  | 7068.75
B2 |  | 100 | µg/ml |  | -1685.25 | B8 |  | 100 | µg/ml |  | 8369.75
C2 |  | 10 | µg/ml |  | 10533.75 | C8 |  | 10 | µg/ml |  | 3269.75
D2 |  | 1 | µg/ml |  | 14439.75 | D8 |  | 1 | µg/ml |  | 30.75
E2 |  | 0.1 | µg/ml |  | 8097.75 | E8 |  | 0.1 | µg/ml |  | -1379.25
F2 |  | 0.01 | µg/ml |  | -546.25 | F8 |  | 0.01 | µg/ml |  | -1671.25
G2 |  | 0.001 | µg/ml |  | -809.25 | G8 |  | 0.001 | µg/ml |  | -1871.25
H2 | β-estradiol a | 3.125e-06 | µg/ml |  | 7669.75 | H8 | DMSO | 0 | µg/ml |  | -253.25
A3 | Chemical 2 | 1000 | µg/ml |  | -2002.25 | A9 | Chemical 5 | 100 | µg/ml |  | -4552.25
B3 |  | 100 | µg/ml |  | -725.25 | B9 |  | 10 | µg/ml |  | -2430.25
C3 |  | 10 | µg/ml |  | -392.25 | C9 |  | 1 | µg/ml |  | 227.75
D3 |  | 1 | µg/ml |  | -367.25 | D9 |  | 0.1 | µg/ml |  | 2914.75
E3 |  | 0.1 | µg/ml |  | -757.25 | E9 |  | 0.01 | µg/ml |  | -1314.25
F3 |  | 0.01 | µg/ml |  | -1163.25 | F9 |  | 0.001 | µg/ml |  | -1431.25
G3 |  | 0.001 | µg/ml |  | -12.25 | G9 |  | 0.0001 | µg/ml |  | -193.25
H3 | β-estradiol a | 1.25e-05 | µg/ml |  | 10828.75 | H9 | β-estradiol b | 7.83e-07 | µg/ml |  | 3477.75
A4 | Chemical 2 | 1000 | µg/ml |  | -1752.25 | A10 | Chemical 5 | 100 | µg/ml |  | -4699.25
B4 |  | 100 | µg/ml |  | -240.25 | B10 |  | 10 | µg/ml |  | -2851.25
C4 |  | 10 | µg/ml |  | -40.25 | C10 |  | 1 | µg/ml |  | 425.75
D4 |  | 1 | µg/ml |  | -256.25 | D10 |  | 0.1 | µg/ml |  | 4364.75
E4 |  | 0.1 | µg/ml |  | -1188.25 | E10 |  | 0.01 | µg/ml |  | -374.25
F4 |  | 0.01 | µg/ml |  | -1271.25 | F10 |  | 0.001 | µg/ml |  | -742.25
G4 |  | 0.001 | µg/ml |  | 492.75 | G10 |  | 0.0001 | µg/ml |  | 787.75
H4 | β-estradiol a | 5e-05 | µg/ml |  | 10927.75 | H10 | β-estradiol b | 3.125e-06 | µg/ml |  | 8858.75
A5 | Chemical 3 | 1000 | µg/ml |  | -463.25 | A11 | Chemical 6 |  | µg/ml |  | 1316.75
B5 |  | 100 | µg/ml |  | -52.25 | B11 |  |  | µg/ml |  | 1474.75
C5 |  | 10 | µg/ml |  | 820.75 | C11 |  |  | µg/ml |  | 2193.75
D5 |  | 1 | µg/ml |  | 5242.75 | D11 |  |  | µg/ml |  | 2777.75
E5 |  | 0.1 | µg/ml |  | 712.75 | E11 |  |  | µg/ml |  | 2680.75
F5 |  | 0.01 | µg/ml |  | -1326.25 | F11 |  |  | µg/ml |  | 1608.75
G5 |  | 0.001 | µg/ml |  | -1306.25 | G11 |  |  | µg/ml |  | 1870.75
H5 | DMSO | 0 | µg/ml |  | 239.75 | H11 | β-estradiol b | 1.25e-05 | µg/ml |  | 10981.75
A6 | Chemical 3 | 1000 | µg/ml |  | -792.25 | A12 | Chemical 6 | 0 | µg/ml |  | 1615.75
B6 |  | 100 | µg/ml |  | -478.25 | B12 |  | 0 | µg/ml |  | 1915.75
C6 |  | 10 | µg/ml |  | 1147.75 | C12 |  | 0 | µg/ml |  | 2297.75
D6 |  | 1 | µg/ml |  | 5501.75 | D12 |  | 0 | µg/ml |  | 2838.75
E6 |  | 0.1 | µg/ml |  | 501.75 | E12 |  | 0 | µg/ml |  | 2040.75
F6 |  | 0.01 | µg/ml |  | -1341.25 | F12 |  | 0 | µg/ml |  | 1811.75
G6 |  | 0.001 | µg/ml |  | -1321.25 | G12 |  | 0 | µg/ml |  | 2443.75
H6 | DMSO | 0 | µg/ml |  | 294.75 | H12 | β-estradiol b | 5e-05 | µg/ml |  | 12584.75
Note on C3: Site License: Insert concentrations in µg/mL in this column
Note on C19: Site License: Insert concentrations in µg/mL in this column
Note on C27: Site License: Insert concentrations in µg/mL in this column
Note on C35: Site License: Insert concentrations in µg/mL in this column

## ER Agonist REPORT
Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
β-estradiol a |  | 0.85061 | RLU adjustment factor (adjust RLUs to 10,000, use highest estradiol RLU)
ug/ml | RLU
5e-05 | 10927.75
1.25e-05 | 10828.75
3.125e-06 | 7669.75
7.825e-07 | 3024.75
β-estradiol b
ug/ml | RLU
5e-05 | 12584.75
1.25e-05 | 10981.75
3.125e-06 | 8858.75
7.83e-07 | 3477.75
Mean E2 RLU | Mean Adj E2 RLU | SD Adj RLU
11756.25 | 10000 | 1171.6759
10905.25 | 9276.1297 | 108.1873
8264.25 | 7029.6651 | 840.75
3251.25 | 2765.5502 | 320.3194
DMSO
Avg. RLU | adj RLU | St. Dev. | DMSO Mean +3x St. Dev | x-axis
0 | 0 | 309.6206 | 928.8618 | 1000
|  |  | 928.8618 | 1e-08
Chemical 1 | Replicate 1 |  | Replicate 2 |  | Chemical 2 | Replicate 1 |  | Replicate 2 |  | Chemical 3 | Replicate 1 |  | Replicate 2
ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU
1000 | -4774.25 | -4061.0314 | -4740.25 | -4032.1106 | 1000 | -2002.25 | -1703.1366 | -1752.25 | -1490.4838 | 1000 | -463.25 | -394.0457 | -792.25 | -673.8969
100 | -2124.25 | -1806.9112 | -1685.25 | -1433.4928 | 100 | -725.25 | -616.9059 | -240.25 | -204.3594 | 100 | -52.25 | -44.4444 | -478.25 | -406.8049
10 | 9366.75 | 7967.4641 | 10533.75 | 8960.1276 | 10 | -392.25 | -333.6523 | -40.25 | -34.2371 | 10 | 820.75 | 698.1393 | 1147.75 | 976.2892
1 | 12328.75 | 10486.975 | 14439.75 | 12282.6156 | 1 | -367.25 | -312.387 | -256.25 | -217.9692 | 1 | 5242.75 | 4459.5428 | 5501.75 | 4679.8511
0.1 | 7831.75 | 6661.7757 | 8097.75 | 6888.0383 | 0.1 | -757.25 | -644.1255 | -1188.25 | -1010.739 | 0.1 | 712.75 | 606.2733 | 501.75 | 426.7943
0.01 | 412.75 | 351.0898 | -546.25 | -464.6465 | 0.01 | -1163.25 | -989.4737 | -1271.25 | -1081.3397 | 0.01 | -1326.25 | -1128.1233 | -1341.25 | -1140.8825
0.001 | -567.25 | -482.5093 | -809.25 | -688.3573 | 0.001 | -12.25 | -10.42 | 492.75 | 419.1388 | 0.001 | -1306.25 | -1111.1111 | -1321.25 | -1123.8703
Chemical 4 | Replicate 1 |  | Replicate 2 |  | Chemical 5 | Replicate 1 |  | Replicate 2 |  | Chemical 6 | Replicate 1 |  | Replicate 2
ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU
1000 | 6365.75 | 5414.7794 | 7068.75 | 6012.7592 | 100 | -4552.25 | -3872.1956 | -4699.25 | -3997.2355 | 0 | 1316.75 | 1120.0425 | 1615.75 | 1374.3753
100 | 8507.75 | 7236.7889 | 8369.75 | 7119.4046 | 10 | -2430.25 | -2067.1983 | -2851.25 | -2425.3057 | 0 | 1474.75 | 1254.4391 | 1915.75 | 1629.5587
10 | 2558.75 | 2176.5019 | 3269.75 | 2781.2865 | 1 | 227.75 | 193.7267 | 425.75 | 362.1478 | 0 | 2193.75 | 1866.0287 | 2297.75 | 1954.4923
1 | -538.25 | -457.8416 | 30.75 | 26.1563 | 0.1 | 2914.75 | 2479.3195 | 4364.75 | 3712.706 | 0 | 2777.75 | 2362.7858 | 2838.75 | 2414.673
0.1 | -1616.25 | -1374.8006 | -1379.25 | -1173.2057 | 0.01 | -1314.25 | -1117.916 | -374.25 | -318.3413 | 0 | 2680.75 | 2280.2764 | 2040.75 | 1735.8852
0.01 | -1856.25 | -1578.9474 | -1671.25 | -1421.5843 | 0.001 | -1431.25 | -1217.4375 | -742.25 | -631.3663 | 0 | 1608.75 | 1368.4211 | 1811.75 | 1541.0952
0.001 | -1906.25 | -1621.4779 | -1871.25 | -1591.7065 | 0.0001 | -193.25 | -164.3806 | 787.75 | 670.0691 | 0 | 1870.75 | 1591.2812 | 2443.75 | 2078.6816
Averaged Range Finder Data for Coded Test Substances.
Chemical 1 |  |  |  | Chemical 2 |  |  |  | Chemical 3
Concentration | Averaged Results | SD | Median Viability | Concentration | Averaged Results | SD | Median Viability | Concentration | Averaged Results | SD | Median Viability
1000 | -4046.571 | 20.4501 | #NUM! | 1000 | -1596.8102 | 150.3683 | 4 | 1000 | -533.9713 | 197.8846 | #NUM!
100 | -1620.202 | 264.0467 | 3 | 100 | -410.6326 | 291.7144 | 3 | 100 | -225.6247 | 256.2275 | 3
10 | 8463.7959 | 701.9191 | 1 | 10 | -183.9447 | 211.7185 | 3 | 10 | 837.2142 | 196.6817 | 2
1 | 11384.7953 | 1269.7097 | 1 | 1 | -265.1781 | 66.7635 | 2 | 1 | 4569.697 | 155.7815 | 1
0.1 | 6774.907 | 159.9918 | 1 | 0.1 | -827.4322 | 259.2349 | 1 | 0.1 | 516.5338 | 126.9108 | 1
0.01 | -56.7783 | 576.8127 | 1 | 0.01 | -1035.4067 | 64.9591 | 1 | 0.01 | -1134.5029 | 9.0221 | 1
0.001 | -585.4333 | 145.5565 | 1 | 0.001 | 204.3594 | 303.7439 | 1 | 0.001 | -1117.4907 | 9.0221 | 1
Chemical 4 |  |  |  | Chemical 5 |  |  |  | Chemical 6
Concentration | Averaged Results | SD | Median Viability | Concentration | Averaged Results | SD | Median Viability | Concentration | Averaged Results | SD | Median Viability
1000 | 5713.7693 | 422.8356 | #NUM! | 100 | -3934.7156 | 88.4165 | 2 | 0 | 1247.2089 | 179.8404 | #NUM!
100 | 7178.0968 | 83.0033 | 1 | 10 | -2246.252 | 253.2202 | 1 | 0 | 1441.9989 | 265.2496 | #NUM!
10 | 2478.8942 | 427.6474 | 1 | 1 | 277.9373 | 119.0917 | 1 | 0 | 1910.2605 | 62.5532 | #NUM!
1 | -215.8426 | 342.2382 | 1 | 0.1 | 3096.0128 | 872.136 | 1 | 0 | 2388.7294 | 36.6899 | #NUM!
0.1 | -1274.0032 | 142.5491 | 1 | 0.01 | -718.1287 | 565.3847 | 1 | 0 | 2008.0808 | 384.9428 | #NUM!
0.01 | -1500.2658 | 111.2725 | 1 | 0.001 | -924.4019 | 414.4149 | 1 | 0 | 1454.7581 | 122.099 | #NUM!
0.001 | -1606.5922 | 21.0516 | 1 | 0.0001 | 252.8442 | 590.0451 | 1 | 0 | 1834.9814 | 344.6441 | #NUM!

## TEMPLATE
|  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 100 | 100 | 0 | 0 | mg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
-4774.25 | -4774.25 | -2002.25 | -1752.25 | -463.25 | -792.25 | 6365.75 | 7068.75 | -4552.25 | -4699.25 | 1316.75 | 1615.75 | Results
100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 10 | 10 | 0 | 0 | mg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
-2124.25 | -1685.25 | -725.25 | -240.25 | -52.25 | -478.25 | 8507.75 | 8369.75 | -2430.25 | -2851.25 | 1474.75 | 1915.75 | Results
10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 0 | 0 | mg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
9366.75 | 10533.75 | -392.25 | -40.25 | 820.75 | 1147.75 | 2558.75 | 3269.75 | 227.75 | 425.75 | 2193.75 | 2297.75 | Results
1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0.1 | 0.1 | 0 | 0 | mg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
12328.75 | 14439.75 | -367.25 | -256.25 | 5242.75 | 5501.75 | -538.25 | 30.75 | 2914.75 | 4364.75 | 2777.75 | 2838.75 | Results
0.1 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.01 | 0.01 | 0 | 0 | mg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
7831.75 | 8097.75 | -757.25 | -1188.25 | 712.75 | 501.75 | 76 | -1379.25 | -1314.25 | -374.25 | 2680.75 | 2040.75 | Results
0.01 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.001 | 0.001 | 0 | 0 | µg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | H0004 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
412.75 | -546.25 | -1163.25 | -1271.25 | -1326.25 | -1341.25 | -1856.25 | -1671.25 | -1431.25 | -742.25 | 1608.75 | 1811.75 | Results
0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0001 | 0.0001 | 0 | 0 | µg/mL Concentrations
Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | H0004 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
-567.25 | -809.25 | -12.25 | 492.75 | -1306.25 | -1321.25 | -1906.25 | -1871.25 | -193.25 | 787.75 | 1870.75 | 2443.75 | Results
7.825e-07 | 3.125e-06 | 1.25e-05 | 5e-05 | 0 | 0 | 0 | 0 | 7.83e-07 | 3.125e-06 | 1.25e-05 | 5e-05 | µg/mL Concentrations
β-estradiol a | β-estradiol a | β-estradiol a | β-estradiol a | DMSO | DMSO | DMSO | DMSO | β-estradiol b | β-estradiol b | β-estradiol b | β-estradiol b | Sample ID
3024.75 | 7669.75 | 10828.75 | -463.25 | 239.75 | 294.75 | -281.25 | -253.25 | 3477.75 | 8858.75 | 10981.75 | 12584.75 | Results

## Compound Mixing Observations
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Observations Made during Mixing of the Test Substance
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 100 | 100 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| P | P |  |  | P | P | P | P | P | P |  |  | Comments
| 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 10 | 10 | 0 | 0 | µg/mL Concentrations
B | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 1 | 1 |  |  | Comments
| 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 0 | 0 | µg/mL Concentrations
C | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Comments
| 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0.1 | 0.1 | 0 | 0 | µg/mL Concentrations
D | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Comments
| 0.1 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.01 | 0.01 | 0 | 0 | µg/mL Concentrations
E | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Comments
| 0.01 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.001 | 0.001 | 0 | 0 | µg/mL Concentrations
F | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | H0004 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Comments
| 0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0001 | 0.0001 | 0 | 0 | µg/mL Concentrations
G | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | H0004 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Comments
| 7.825e-07 | 3.125e-06 | 1.25e-05 | 5e-05 | 0 | 0 | 0 | 0 | 7.83e-07 | 3.125e-06 | 1.25e-05 | 5e-05 | µg/mL Concentrations
H | β-estradiol a | β-estradiol a | β-estradiol a | β-estradiol a | DMSO | DMSO | DMSO | DMSO | β-estradiol b | β-estradiol b | β-estradiol b | β-estradiol b | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Comments
|  |  | Note Code | Note Text
|  |  | 1 | No Precipitate
|  |  | 2 | Low Level of Precipitate
|  |  | 3 | Moderate Level of Precipitate
|  |  | 4 | High level of Precipitate

## Visual Inspection for Viability
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Visual Observations of Cell Viability
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 100 | 100 | 0 | 0 | µg/mL Concentrations
A | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
|  |  | 4 | 4 |  |  |  |  | 2 | 2 |  |  | Viability Score
| 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 10 | 10 | 0 | 0 | µg/mL Concentrations
B | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 3 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 |  |  | Viability Score
| 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 1 | 0 | 0 | µg/mL Concentrations
C | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 |  |  | Viability Score
| 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0.1 | 0.1 | 0 | 0 | µg/mL Concentrations
D | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Viability Score
| 0.1 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.01 | 0.01 | 0 | 0 | µg/mL Concentrations
E | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Viability Score
| 0.01 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.001 | 0.001 | 0 | 0 | µg/mL Concentrations
F | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | H0004 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Viability Score
| 0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0001 | 0.0001 | 0 | 0 | µg/mL Concentrations
G | Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | H0004 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Viability Score
| 7.825e-07 | 3.125e-06 | 1.25e-05 | 5e-05 | 0 | 0 | 0 | 0 | 7.83e-07 | 3.125e-06 | 1.25e-05 | 5e-05 | µg/mL Concentrations
H | β-estradiol a | β-estradiol a | β-estradiol a | β-estradiol a | DMSO | DMSO | DMSO | DMSO | β-estradiol b | β-estradiol b | β-estradiol b | β-estradiol b | Sample ID
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Viability Score
|  |  | Visual Observation Score | Visual Observations
|  |  | 1 | Normal Cell Morphology
|  |  | 2 | Low Level of Cell Toxicity
|  |  | 3 | Moderate Level of Cell Toxicity
|  |  | 4 | High level of Cell Toxicity
|  |  | P | Unable to View Cells Due to Precipitate